### Concentrating 1.5kb PCR products (7-13-05)

If there are more than 40 uL of PCR product to be analyzed, use a Microcon YM-100 concentration device (regenerated cellulose, 100,000 Molecular Weight Cut Off).

- Label a concentrator insert (blue) and its collection tube.  Indicate on the collection tube that it contains the flow-through.

- Add up to 500 uL PCR product.

- Spin the concentrators in a microcentrifuge for 1 – 5 minute intervals at 500 x g, checking the volume remaining in the insert after each spin.  Continue the process until there is  40 uL of retentate.  The volume can be checked using a pipette set at 40 uL

- Label a new 1.5 mL microcentrifuge tube and turn the vial upside down into it.

- Spin at 500 g for 2 – 3 minutes or do a quick spin to recover the retentate.

- Measure the amount of retentate using a pipette.

- Analyze 1 uL of the retentate and 20 uL of the ‘flow-through’ via gel electrophoresis.  DNA present in the flow-through indicates a failed Micron filter.  If necessary, re-concentrate the retentate and flow-through or perform additional PCRs to obtain enough material to use for microarray analysis.