### DNA Extraction from aerosol filters (7-12-05)

- Aseptically add 600μL Miller phosphate buffer into sample. Include a tube containing no filters to check contamination during extraction process.

- Add 300μL Miller SDS lysis buffer.

- Add 300μL Phenol:Chloroform:Isoamly alcohol (25:24:1).  Flick and invert tubes to mix the buffers and distribute silica beads

- Agitate tubes with Bio 101 Fast Prep 120 machine for 45sec at speed 6.5

- Centrifuge tubes at 16,000 x g for 5min

- Carefully transfer 560μL of the aqueous supernatant to a new 1.5 or 2.0 mL. Avoid transferring the Phenol:Chloroform:Isoamly alcohol layer underneath.

- Add 560μL chloroform, vortex for 5sec.

- Centrifuge 16,000 x g for 3min.

- Transfer 450μL of the top layer into a new 2mL tube. Be careful not to transfer the chloroform layer underneath.

- Add 2 volumes (900μL) of MoBio solution S3 to tube

- Invert 5 times and flick gently to mix

- Transfer 750μL of sample into a clean MoBio spin filter and centrifuge at    10,000 x g for 30sec

- Discard flow-through

- Repeat steps 12 and 13 until all of the mixture has been filtered

- To the filter, add 300μL MoBio solution S4 to filter and centrifuge at 10,000 x g for 30sec.  Discard flow-through.

- Centrifuge filter at 10,000 x g for 1min to dry filter

- Transfer filter to new 2.0mL tube; avoid slashing any solution S4 onto the filter, check and blot any excess S4 from the lip of the filter as S4 may interfere with elution.

- Add 60μL of Tris-EDTA (TE) onto the center of the filter membrane. Do not touch the filter with the pipette tip.

- Centrifuge at 10,000 x g  for 30sec to elute DNA.

- Collect flow-through and reapply to filter, centrifuge for 10,000 x g for 30sec.

- Flick and vortex an S-200 Sephacryl column to resuspend resin.  Snap bottom of column and loosen cap 1/4 turn.

- Place column in 2mL collection tube and centrifuge 800 x g for 1min.

- Place column into a new collection tube.  Apply the eluted DNA to the top of column and replace cap loosely.

- Centrifuge at 800 x g for 2 min .

- Store DNA at 4°C.

This is a modification of the Miller Method: Miller, D.N., Bryant, J.E., Madsen, E.L., and Ghiorse, W.C. 1999.  Evaluation and Optimization of DNA extraction and purification procedures for soil and sediment samples.             AEM 65:4715-4724.