### gDNA extractions from groundwater filters (7-13-05)

- Homogenize filter in whirl-pak bag by hand, making sure all filter surface is separated from sealing ring and is almost powder consistency.

- Add 1000 µL Miller phosphate buffer to bag, rinse down inside of bag to collect small filter dust particles.

- Using a wide bore pipette tip (cut tip with sterile scissors), collect buffer and filter material and transfer to a sterile 2 ml tube containing silica beads (0.3g of 0.5mm and 0.6g 0.1mm).

- Centrifuge tube at 16,000 x g for 2 min at 4oC and remove 700 μl of supernatant.

- Add 300µL Miller SDS lysis buffer.

- Add 300µL Phenol:Chloroform:Isoamyl alcohol (25:24:1). Invert tube several times to mix buffers and distribute silica beads.

- Shake tubes with Fast Prep machine for 30 seconds at speed 5.5 m/s.

- Centrifuge tubes at 16,000 x g for 5 minutes at 4oC.

- Transfer all aqueous supernatant to a 2.0 mL pre-spun phase-lok gel tube (Heavy).

- Add an equal volume of chloroform and mix by hand inverting several times.

- Centrifuge tubes at 16,000 x g for 3 minutes at 4oC.

- Transfer upper phase to a new sterile 2 mL tube.

- Add 2 volumes of MoBio solution S3 to tube.

- Mix contents by inverting 20 times.

- Load MoBio Spin Filter with up to 650µL and centrifuge 10,000 x g for 30 seconds.  Discard the flow-through and repeat with remainder of mixture.

- Add 300 µL Solution 4 to the filter and centrifuge 10,000 x g for 30 seconds. Repeat this again.

- Discard the flow-through and centrifuge again at 10,000 x g for 1 min.

- Carefully place spin filter in a new clean 2.0 mL tube.  Avoid splashing any Solution S4 onto the spin filter.

- Carefully add 50 µL sterile ddH2O to the center of the white filter membrane.

- Centrifuge 30 seconds at 16,000 x g to elute the DNA.

- Load the flow through back onto the same filter and centrifuge again for 30 seconds at 16,000 x g.

- Store DNA at -20°C short term or -80oC long term.

This is a modification of the Miller Method:

Miller, D.N., Bryant, J.E., Madsen, E.L., and Ghiorse, W.C.  1999.  Evaluation and Optimization of DNA extraction and purification procedures for soil and sediment samples.  AEM 65:4715-4724.